# Standard Symbols – Fire Alarms

# Scope

Devices for the detection and warning of fire in the built environment. Symbols may be shown on drawing plans or schematics.

# Basic geometry

Dimensions refer to size as shown on a drawing when printed full size.

## BreakGlass

## Panel

Panel symbol may be sized to match actual panel, if larger than scale symbol. For fire alarm panels smaller than scale of symbol, above dimensions should be used.

## Detector

# Symbols and Abbreviations

| Product | Abbreviation | Symbol |
| --- | --- | --- |
| Break Glass Unit |  |  |
| Sounder |  |  |
| Sounder with Beacon |  |  |
| Fire Alarm Panel | FAP |  |
| Fire Alarm Panel, Repeater | FARP |  |
| Fire Alarm Panel, Network | FANP |  |
| Firefighter's Control Panel | FCP |  |
| Remote Indicator |  |  |
| Smoke/Fire Door Release Unit |  |  |
| Flashing Beacon |  |  |
| Fire Alarm Detector, Gas, CO | GC |  |
| Fire Alarm Detector, Gas, CO, Beacon | GC |  |
| Fire Alarm Detector, Gas, CO, Sounder | GC |  |
| Fire Alarm Detector, Gas, CO, Beacon and Sounder | GC |  |
| Fire Alarm Detector, Gas, CO, Ceiling Void | GC |  |
| Fire Alarm Detector, Gas, CO, Floor Void | GC |  |
| Fire Alarm Detector, Heat, Fixed | HF |  |
| Fire Alarm Detector, Heat, Rate of Rise | HR |  |
| Fire Alarm Detector, Heat, Combination | HC |  |
| Fire Alarm Detector, Smoke, Optical | SO |  |
| Fire Alarm Detector, Smoke, Beam | SB |  |
| Fire Alarm Detector, Smoke, Receiver | SR |  |
| Fire Alarm Detector, Smoke, Ionization | SI |  |
| Fire Alarm Detector, Flame, Infra-red | FI |  |
| Fire Alarm Detector, Flame, Ultra-violet | FU |  |
| Fire Alarm Detector, Flame, Combination | FC |  |
| Fire Alarm Detector, Flame, Spark | FS |  |
| Fire Alarm Detector, Interface Unit | IF |  |

# Use example