# Standard Symbols – Small Power

# Scope

Devices for the distribution and supply of electrical power in the built environment. Symbols may be shown on drawing plans or schematics.

# Basic geometry

Dimensions refer to size as shown on a drawing when printed full size.

## Outlets

## Distribution Board

Panel symbol may be sized to match actual panel, if larger than scale symbol. For distribution boards smaller than scale of symbol, above dimensions should be used.

## Isolation

Single phase isolators should omit solid fill in body of symbol.

# Symbols and Abbreviations

| Product | Abbreviation | Symbol |
| --- | --- | --- |
| Distribution Board | DB |  |
| Flexible Connection Unit - Switched | FCU |  |
| Flexible Connection Unit – Switched – Flex Outlet | FCU |  |
| Flexible Connection Unit - Unswitched | FCU |  |
| Flexible Connection Unit – Unswitched – Flex Outlet | FCU |  |
| Floor Box |  |  |
| Isolator | Isol |  |
| Isolator – 3 phase | Isol |  |
| Shaver Socket | SH |  |
| Socket Outlet – Single - Switched | SSO |  |
| Socket Outlet – Single – Switched (alternative) | SSO |  |
| Socket Outlet – Single – Switched – 3 phase | SSO |  |
| Socket Outlet – Single – Switched – Floor Mounted | SSO |  |
| Socket Outlet – Single – Switched – Low Voltage | SSO |  |
| Socket Outlet – Single – Unswitched | SO |  |
| Socket Outlet – Single – Unswitched – 110V | SO |  |
| Socket Outlet – Twin – Switched | SSO |  |
| Socket Outlet – Twin – Switched – Floor Mounted | SSO |  |
| Socket Outlet – Twin – Unswitched | HC |  |

# Use example